|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Humidifier Survey Checklist Page …… of…….** | | | | | | | | | | | | | | | |
| **Engineer** | | | | **Type of visit:** | | | | | **Date:** | | | | | **Building ref** | |
| **Item No.** | **Equipment** | **Serial number** | **Ref/ location** | **Hours** | **Service counter (next service hrs)** | **Last service date** | **Units status On/ Off** | **Fault history** | **Installation checked** | **Inspection for leaks**  **(unit off)** | **Drain valve/ pump check** | **Basic operation check** | **Parts required Y/ N** | **Works required (PM No parts/ PM parts/ repair)** | **Comments (inc parts & work)**  **(add if photo taken)** |
| 16 | SKE 05 | 07E3316761 | 3rd floor Corridor | n/a | n/a | n/a | On | n/a | Y | Y | Y | Y | Y | PM | Clean and gasket |
| 17 | SKE 10 | 07E2916647 | Plant Rm 9 | n/a | n/a | n/a | On | n/a | Y | Y | Y | Y | Y | PM | Clean and gasket |
| 18 | SKE 10 | 07e2916645 | Plant Rm 1 A | n/a | n/a | n/a | On | n/a | Y | Y | Y | Y | Y | PM | Clean and gasket |
| 19 | SKE 05 | 07e3316765 | Plant Rm in POD 9 | n/a | n/a | n/a | On | n/a | Y | Y | Y | Y | Y | PM | Clean and gasket, possible cylinder. |
| 20 | SKE 05 | 07E3316763 | Plant Rm POD  AHU/6 | n/a | n/a | n/a | On | n/a | Y | Y | Y | Y | Y | PM | Clean and gasket, possible cylinder |