Snags

Pump manifold locking plate not fitted

Pump wiring not connected

Drain not fitted