**HumEvap Matrix**

**CAT 3 Lab**

H = 600mm

W = 750mm

D = 200mm

**Drop sep**