## Sheet1
Pressure regulator
Unit | Serial number | Total Hours | Hours since Sept | Sep Hours | Last Pump change | Hours since pump change | Filter 5 micron 10" | O-ring for water filter | UV 10W | UV Quarts | Print frame relay Alarm (K2) | PFR Vv reg 1 (K31) | PFR Vv reg 2 (K32) | PFR Vv reg 3 (K33) | PFR Vv reg 4 (K34) | PFR Flush Vv (K35) | Contactor | Pump | Repair kit for one valve; core, spring, o-rings | Repair kit for one valve; guide tube, core, spring, o-rings | Water Reg | On/off valve rep kit 1/2" 10 bar_24V | Check valve 1/4" | Nozzle ML 4.5 Stainless | Nozzle ML 2,5 Stainless Changed | Nozzle ML 2,5 Stainless Need Changed
HP1 | 2015058 2417506 | 40410 | 3106 | 37304 | 32425 | 7985 | Y | Y | N | N | Y | Y | Y |  |  |  |  | C |  |  | Y |  |  |  | 1
HP2 | 2015053 2417500 | 40192 | 3495 | 36697 | 32385 | 7807 | Y | Y | Y | N | [7 empty] | C |  |  | Y
HP3 | 2015057 2417507 | 31758 | 2249 | 29509 | 26628 | 5130 | Y | Y | Y | N | [7 empty] | NC |  |  | Y